Division of Comparative Medicine and Laboratory Animal Facilities

STANDARD OPERATING PROCEDURE

SOP TITLE: Use of the IVIS Spectrum in BRB 406

| SOP No.: 6.A.9 | DATE OF ORIGIN: 8/28/2020 | EFFECTIVE DATE: 9/25/2020 | DISTRIBUTION DATE OF THIS SOP: 9/25/2020 |
| --- | --- | --- | --- |
| REFERENCES: LAF SOP 6.A.6 Use of the Maestro Photoimager in NSC 808 |
| DISTRIBUTION: SOP Committee, Official GLP Binder, CM-LAF Director, CM-LAF Veterinary Staff and CM-LAF Supervisors, Study Director, Quality Assurance Unit, IACUC |

AUTHOR:  Dr. Jennifer Peirick

TITLE				SIGNATURE				DATE

Clinical Veterinarian

APPROVAL:	 Dr. Lisa Martin

TITLE				SIGNATURE				DATE

CM-LAF Director

GENERAL: 	This SOP is CONFIDENTIAL.  It may not be reproduced without written permission from the CMLAF.

PURPOSE:	To outline procedures to transport animals to and from the Biomedical Research Building, and for imaging animals in the IVIS Spectrum.

SCOPE:	This procedure provides guidance to Research Staff who will conduct imaging.

PROCEDURE:	Details enclosed

ATTACHMENTS:	Appendix I: Anesthesia Machine Operation

THE SOP SUPERCEDES:

COMPARATIVE MEDICINE

LABORATORY ANIMAL FACILITIES

STANDARD OPERATING PROCEDURES

for

Use of the IVIS Spectrum in BRB 466

  - Purpose:   To outline procedures to transport animals to and from the BRB (Biomedical Research Building), and for imaging animals in the IVIS (In Vivo Imaging System) Spectrum.

2.0       Scope:  This procedure provides guidance to Research Staff who will conduct imaging.

- Procedure:

  - Mice (or rats) are conventionally housed in the BEB (Biomedical Education Building) Animal

Facility and transported to the adjacent BRB in covered containers as per LAF SOP 1.D.1

(Transportation of Laboratory Animals).

    - Water bottles are supplied to cages during the day in BRB 466.

    - Animals must be returned to the BEB LAF at the end of the day (mice or rats cannot be left overnight in BRB 466).

    - The IACUC protocol should accompany the animals, so the specifications of procedures are followed.

    - Immunocompromised mice (or rats) will not be imaged.  (Imaging of such animals would require SOP updates and planning.  There is no biosafety cabinet in BRB 406.)

  - Animals are anesthetized with isoflurane in an induction chamber as per directions posted in

the room (Appendix I) and LAF SOP 2.A.26 (Adult Rodent Isoflurane Anesthesia).

  - Animals are transferred to the IVIS Spectrum, and the animal’s nose is placed inside the

built in nose cone within the IVIS Spectrum.

  - Supplemental heat is provided inside the imager.

  - Subcutaneous fluids must be administered every hour after imaging has commenced.

    - For mice:  1-3 mL of 0.9% sterile saline is injected under the skin via 25 g needle.

    - For rats:  5-10 mL of 0.9% sterile saline is injected under the skin via 22-25 g needle.

  - Bioluminescent reagent will be injected subcutaneously (SC) as per approved IACUC

protocol.

    - Volume, type, needle size, route and frequency will be dictated by approved protocol for specific animals, and must be followed

  - Mice (or rats) are monitored by observing the images on the computer.

  - Depth of anesthesia (1-3% Isoflurane) should be established before imaging begins.

  - Frequency of imaging, duration of imaging sessions, number of injections should all be

stipulated on the approved IACUC protocol and be followed for a specific group of animals.

  - Animals are recovered in a separate cage with supplemental heat.

    - Animals will receive a bolus of SC fluids if total anesthesia time has exceeded one hour.

    - Animals will be monitored until able to walk.

    - Once fully recovered, animals can return to their original cages and be returned

to the LAF.

  - The heated stage and nose cone is sanitized between animals using 70% isopropyl alcohol to

reduce the risk of contamination.  At the end of an imaging session the IVIS Spectrum Stage

will be wiped down with Spor-Klenz or an appropriate cleaner that will not create additional

fluorescent background upon drying.

ANESTHESIA MACHING OPERATION (V-1 Table Top System): BRB 406

Ready Machine:

- Fill vaporizer with isoflurane.  Don’t overfill.  Be sure stainless steel cap is screwed in tightly after filling.

- Check that Waste Anesthetic Gas (WAG) canister is attached via clear, corrugated scavenge tubing to the white, rectangular scavenging cube.

- Check the oxygen supply in the green tank and the connection to the flowmeter and anesthetic vaporizer (green tubing).

- Check that the anesthetic gas tubing is ready for induction.  Open stop cock valves that connect to induction box and close valve that connects to IVIS Spectrum.  (Turn black stop cocks to parallel with tubing for open and perpendicular to tubing for closed.)

- Push induction box’s black connector into scavenging’s cubes black port (front of cube).

- Be sure back of IVIS Spectrum in properly connected with Gas In/Gas Out lines and ports.

Induction:

- Double check that black stop cock valves are positioned for induction.

- Push the induction box’s black connection piece into the scavenging cube’s port.

- Turn on the oxygen tank, and turn flow meter to 2 LPM.

- Place mouse (or rat) into induction box.

- Turn isoflurane vaporizer up slowly from 0.5 % to 4% while constantly monitoring the mouse.  If the mouse will require extended time inside the induction box, do not exceed 3 %.

Valves: Open to induction                Push induction box into               Oxygen Flow Meter:

Closed to nose cones            scavenge cube.                                  Turn to 2 LPM

Maintenance Anesthesia:

- Turn oxygen flow meter down to 1 LPM.

- Turn isoflurane down to between 1-3 %.

- Switch stop cock valves to divert flow to nose cones inside IVIS Spectrum.

- Remove mouse from induction box and place onto nose cone inside IVIS Spectrum.

- Monitor mouse until steady and appropriate anesthetic planes is achieved.  This may require adjusting isoflurane % to between 1-3%.

- Close door of IVIS Spectrum and monitor via video until procedure is finished.

- After anesthesia is no longer needed, turn off isoflurane and maintain mouse on 100% oxygen until mouse begins to move.  Then, continue recovery in individual cage with supplemental heating until mouse is walking.

# Text boxes

Stop Cocks to Direct Flow

Scavenge Tubing

Oxygen Flow Meter

Scavenging Cube

Vaporizer

WAG Canister

Induction Box

Back of IVIS Spectrum: “Gas Out” and “Gas In” Ports to connect  fresh gas and waste gas tubing.

Closed

Open

Nose cones inside IVIS Spectrum